## Cover
PROJECT ATLAS - 50 MWp Solar PV, France
Ground-mounted solar - Nouvelle-Aquitaine - Project finance model - Base case with sensititvity analysis
PROJECT SUMMARY
• 50 MWp ground-mounted solar PV - Nouvelle-Aquitaine, France
• 20-year CRE (CfD) contract at €79/MWh, then 5-year merchant tail at €55/MWh (real)
• €41.0m capex · €43.6m total funded cost · 75% senior debt on capex, financing costs equity-funded
• 18-year senior facility · sculpted to 1.55x contracted DSCR · 4.75% all-in fixed rate
HEADLINE OUTPUTS
Project IRR (unlevered) | 7.232% | Minimum DSCR | 1.3723
Equity IRR (levered) | 10.74% | Average DSCR | 1.6189
Equity multiple (MOIC) | 3.3666 | Minimum LLCR | 1.6088
Equity payback | Year 11 | Senior debt | 30.75
Gearing (on capex) | 75% | Equity | 12.8946
|  | Binding constraint | Gearing-based
MODEL INTEGRITY
ALL CHECKS PASS
STATED SIMPLIFICATIONS
– Debt sized on pre-tax CFADS (= EBITDA); post-tax DSCR tested separately, clears at 1.37x
– IDC circularity broken via manual Goal Seek, no iterative calculation used
– Financing costs (IDC, fees, DSRA) equity-funded; gearing is 75% of capex, ~70% of total cost
– DSRA included in depreciation base (immaterial); no working capital modelled
– No refinancing, no construction-delay scenario, straight-line tax depreciation
– Merchant tail flat at €55/MWh (real)
KEY ASSUMPTIONS & SOURCES
Assumption | Value | Source / basis
Capacity | 50 MWp | Design
Yield (P50) | 1,402 kWh/kWp | PVGIS site query
Capex | €820/kWp | IRENA / Fraunhofer ISE, EU utility-scale
Contract price | €79/MWh (20 yr) | Recent CRE PPE2 ground-mount tender avg
Merchant tail | €55/MWh real (5 yr) | Conservative assumption
All-in debt rate | 4.75% fixed | Mid-swap + 175bp margin (judgement)
Target DSCR | 1.55x / 1.60x | Contracted / merchant (judgement)
Self-built for skills demonstration only

## Inputs
INPUTS - Assumptions & sources
Construction_periods | 2
Ops_periods | 50
Cfd_periods | 40
Debt_tenor_periods | 36
capacity_kwp | 50000
yield_y1_kwh/kwp | 1402
degradation/yr | 0.5%
availibility | 98.5%
total_capex/kwp | 820
annual_opex/kwp | 16
contracted_price/MWh | 79
merchant_tail_price/MWh | 55
asset_life_yrs | 25
max_debt_gearing | 75% | On CAPEX spend only
target_DSCR_Contracted | 1.55
target_DSCR_Merchant | 1.6
debt_rate | 4.75%
DSRA_forward_debt_service_months | 6
corporate_tax_rate | 25%
depreciation_yrs | 20
depreciation_periods | 40
total_periods_semiannual | 52
Indexed inflation | 2%

## Timing
TIMING - Period calendar & flags
Period number |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52
Period start date | time axis 2026-04-01 to 2052-04-01
Period end date | time axis 2027-03-31 to 2052-09-30
Days in period |  | 182 | 183 | 183 | 183 | 182 | 183 | 182 | 183 | 182 | 183 | 183 | 183 | 182 | 183 | 182 | 183 | 182 | 183 | 183 | 183 | 182 | 183 | 182 | 183 | 182 | 183 | 183 | 183 | 182 | 183 | 182 | 183 | 182 | 183 | 183 | 183 | 182 | 183 | 182 | 183 | 182 | 183 | 183 | 183 | 182 | 183 | 182 | 183 | 182 | 183 | 183 | 183
Year Fraction |  | 0.49863 | 0.50137 | 0.50137 | 0.50137 | 0.49863 | 0.50137 | 0.49863 | 0.50137 | 0.49863 | 0.50137 | 0.50137 | 0.50137 | 0.49863 | 0.50137 | 0.49863 | 0.50137 | 0.49863 | 0.50137 | 0.50137 | 0.50137 | 0.49863 | 0.50137 | 0.49863 | 0.50137 | 0.49863 | 0.50137 | 0.50137 | 0.50137 | 0.49863 | 0.50137 | 0.49863 | 0.50137 | 0.49863 | 0.50137 | 0.50137 | 0.50137 | 0.49863 | 0.50137 | 0.49863 | 0.50137 | 0.49863 | 0.50137 | 0.50137 | 0.50137 | 0.49863 | 0.50137 | 0.49863 | 0.50137 | 0.49863 | 0.50137 | 0.50137 | 0.50137
Construction flag |  | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operations flag |  | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Operating period number |  | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
Operating year number |  | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 8 | 9 | 9 | 10 | 10 | 11 | 11 | 12 | 12 | 13 | 13 | 14 | 14 | 15 | 15 | 16 | 16 | 17 | 17 | 18 | 18 | 19 | 19 | 20 | 20 | 21 | 21 | 22 | 22 | 23 | 23 | 24 | 24 | 25 | 25
Contracted flag |  | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Merchant flag |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Debt repayment flag |  | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Depreciation flag |  | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Construction
CONSTRUCTION - Capex, funding & IDC
Period number |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52
Capex profile % |  | 1: 50%; 2: 50%
Capex spend (millions) |  | 1: 20.5; 2: 20.5
Cumulative Capex (millions) |  | 1: 20.5; 2: 41
Financing fees (1% of debt) |  | 1: 0.33; 2: 0
DSRA initial funding |  | 1: 1.57; 2: 0
Debt drawn |  | 1: 15.375; 2: 15.375
Equity drawn |  | 1: 7.7696; 2: 5.125
Debt balance b/f |  | 1: 0; 2: 15.5593; 3: 31.4946
Debt drawn in period |  | 1: 15.375; 2: 15.375
IDC in period (Assumed) |  | 1: 0.18426; 2: 0.56029
IDC in period (Calculated) |  | 1: 0.18426; 2: 0.56029
IDC check |  | 1: 0; 2: 0
Debt balance c/f |  | 1: 15.5593; 2: 31.4946
SOURCES AND USES
USES:
Capex | 41
IDC (Capitalised) | 0.74455
Financing fees (1% of debt) | 0.33
DSRA Initial funding | 1.57
Total uses | 43.6446
SOURCES:
Senior Debt | 30.75
Equity | 12.8946
Total Sources | 43.6446
Check (Uses-Sources) | 0

## Operations
OPERATIONS - Production, revenue & CFADS
Period number |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52
Operating year number |  | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 8 | 9 | 9 | 10 | 10 | 11 | 11 | 12 | 12 | 13 | 13 | 14 | 14 | 15 | 15 | 16 | 16 | 17 | 17 | 18 | 18 | 19 | 19 | 20 | 20 | 21 | 21 | 22 | 22 | 23 | 23 | 24 | 24 | 25 | 25
ELECTRICITY PRODUCTION
Degradation factor |  | 0% | 0% | 100% | 100% | 99.5% | 99.5% | 99% | 99% | 98.51% | 98.51% | 98.01% | 98.01% | 97.52% | 97.52% | 97.04% | 97.04% | 96.55% | 96.55% | 96.07% | 96.07% | 95.59% | 95.59% | 95.11% | 95.11% | 94.64% | 94.64% | 94.16% | 94.16% | 93.69% | 93.69% | 93.22% | 93.22% | 92.76% | 92.76% | 92.29% | 92.29% | 91.83% | 91.83% | 91.37% | 91.37% | 90.92% | 90.92% | 90.46% | 90.46% | 90.01% | 90.01% | 89.56% | 89.56% | 89.11% | 89.11% | 88.67% | 88.67%
Seasonality |  | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48% | 52% | 48%
Production (MWh) |  | 0 | 0 | 35905.22 | 33143.28 | 35725.6939 | 32977.5636 | 35547.0654 | 32812.6758 | 35369.3301 | 32648.6124 | 35192.4835 | 32485.3693 | 35016.521 | 32322.9425 | 34841.4384 | 32161.3278 | 34667.2312 | 32000.5211 | 34493.8951 | 31840.5185 | 34321.4256 | 31681.3159 | 34149.8185 | 31522.9094 | 33979.0694 | 31365.2948 | 33809.174 | 31208.4683 | 33640.1282 | 31052.426 | 33471.9275 | 30897.1639 | 33304.5679 | 30742.6781 | 33138.0451 | 30588.9647 | 32972.3548 | 30436.0198 | 32807.4931 | 30283.8397 | 32643.4556 | 30132.4205 | 32480.2383 | 29981.7584 | 32317.8371 | 29831.8496 | 32156.2479 | 29682.6904 | 31995.4667 | 29534.2769 | 31835.4894 | 29386.6056
REVENUE
Price €/MWh |  | 0 | 0 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 79 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55
Revenue €m |  | 0 | 0 | 2.8365 | 2.6183 | 2.8223 | 2.6052 | 2.8082 | 2.5922 | 2.7942 | 2.5792 | 2.7802 | 2.5663 | 2.7663 | 2.5535 | 2.7525 | 2.5407 | 2.7387 | 2.528 | 2.725 | 2.5154 | 2.7114 | 2.5028 | 2.6978 | 2.4903 | 2.6843 | 2.4779 | 2.6709 | 2.4655 | 2.6576 | 2.4531 | 2.6443 | 2.4409 | 2.6311 | 2.4287 | 2.6179 | 2.4165 | 2.6048 | 2.4044 | 2.5918 | 2.3924 | 2.5788 | 2.3805 | 1.7864 | 1.649 | 1.7775 | 1.6408 | 1.7686 | 1.6325 | 1.7598 | 1.6244 | 1.751 | 1.6163
COSTS
Opex €m |  | 0 | 0 | 0.408 | 0.408 | 0.41616 | 0.41616 | 0.42448 | 0.42448 | 0.43297 | 0.43297 | 0.44163 | 0.44163 | 0.45046 | 0.45046 | 0.45947 | 0.45947 | 0.46866 | 0.46866 | 0.47804 | 0.47804 | 0.4876 | 0.4876 | 0.49735 | 0.49735 | 0.5073 | 0.5073 | 0.51744 | 0.51744 | 0.52779 | 0.52779 | 0.53835 | 0.53835 | 0.54911 | 0.54911 | 0.5601 | 0.5601 | 0.5713 | 0.5713 | 0.58272 | 0.58272 | 0.59438 | 0.59438 | 0.60627 | 0.60627 | 0.61839 | 0.61839 | 0.63076 | 0.63076 | 0.64337 | 0.64337 | 0.65624 | 0.65624
EBITDA |  | 0 | 0 | 2.4285 | 2.2103 | 2.4062 | 2.1891 | 2.3837 | 2.1677 | 2.3612 | 2.1463 | 2.3386 | 2.1247 | 2.3158 | 2.103 | 2.293 | 2.0813 | 2.27 | 2.0594 | 2.247 | 2.0374 | 2.2238 | 2.0152 | 2.2005 | 1.993 | 2.177 | 1.9706 | 2.1535 | 1.948 | 2.1298 | 1.9254 | 2.1059 | 1.9025 | 2.0819 | 1.8796 | 2.0578 | 1.8564 | 2.0335 | 1.8331 | 2.0091 | 1.8097 | 1.9845 | 1.7861 | 1.1801 | 1.0427 | 1.1591 | 1.0224 | 1.1378 | 1.0018 | 1.1164 | 0.98101 | 1.0947 | 0.96002
TAX
Depreciation |  | 0 | 0 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 1.0911 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EBIT |  | 0 | 0 | 1.3374 | 1.1192 | 1.3151 | 1.098 | 1.2926 | 1.0766 | 1.2701 | 1.0552 | 1.2475 | 1.0336 | 1.2247 | 1.0119 | 1.2019 | 0.99016 | 1.1789 | 0.96826 | 1.1559 | 0.94625 | 1.1327 | 0.92411 | 1.1094 | 0.90185 | 1.0859 | 0.87945 | 1.0624 | 0.85691 | 1.0387 | 0.83424 | 1.0148 | 0.81141 | 0.99083 | 0.78844 | 0.9667 | 0.76532 | 0.9424 | 0.74203 | 0.91795 | 0.71858 | 0.89334 | 0.69497 | 1.1801 | 1.0427 | 1.1591 | 1.0224 | 1.1378 | 1.0018 | 1.1164 | 0.98101 | 1.0947 | 0.96002
Interest |  | 0 | 0 | 0.73031 | 0.71045 | 0.69345 | 0.67305 | 0.6555 | 0.63454 | 0.61639 | 0.59485 | 0.57609 | 0.55394 | 0.53454 | 0.51175 | 0.49168 | 0.46823 | 0.44746 | 0.4233 | 0.4018 | 0.37691 | 0.35465 | 0.329 | 0.30593 | 0.27948 | 0.25558 | 0.22829 | 0.20352 | 0.17536 | 0.14967 | 0.12059 | 0.093956 | 0.06392 | 0.036286 | 0.005247 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Profit before tax |  | 0 | 0 | 0.60709 | 0.40876 | 0.6216 | 0.4249 | 0.63713 | 0.44207 | 0.6537 | 0.4603 | 0.67137 | 0.47965 | 0.69018 | 0.50018 | 0.7102 | 0.52193 | 0.73148 | 0.54496 | 0.75407 | 0.56934 | 0.77803 | 0.59512 | 0.80344 | 0.62237 | 0.83036 | 0.65116 | 0.85885 | 0.68156 | 0.88899 | 0.71364 | 0.92086 | 0.7475 | 0.95455 | 0.7832 | 0.9667 | 0.76532 | 0.9424 | 0.74203 | 0.91795 | 0.71858 | 0.89334 | 0.69497 | 1.1801 | 1.0427 | 1.1591 | 1.0224 | 1.1378 | 1.0018 | 1.1164 | 0.98101 | 1.0947 | 0.96002
Loss b/f |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable profit |  | 0 | 0 | 0.60709 | 0.40876 | 0.6216 | 0.4249 | 0.63713 | 0.44207 | 0.6537 | 0.4603 | 0.67137 | 0.47965 | 0.69018 | 0.50018 | 0.7102 | 0.52193 | 0.73148 | 0.54496 | 0.75407 | 0.56934 | 0.77803 | 0.59512 | 0.80344 | 0.62237 | 0.83036 | 0.65116 | 0.85885 | 0.68156 | 0.88899 | 0.71364 | 0.92086 | 0.7475 | 0.95455 | 0.7832 | 0.9667 | 0.76532 | 0.9424 | 0.74203 | 0.91795 | 0.71858 | 0.89334 | 0.69497 | 1.1801 | 1.0427 | 1.1591 | 1.0224 | 1.1378 | 1.0018 | 1.1164 | 0.98101 | 1.0947 | 0.96002
Loss c/f | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax |  | 0 | 0 | 0.15177 | 0.10219 | 0.1554 | 0.10623 | 0.15928 | 0.11052 | 0.16342 | 0.11508 | 0.16784 | 0.11991 | 0.17255 | 0.12504 | 0.17755 | 0.13048 | 0.18287 | 0.13624 | 0.18852 | 0.14233 | 0.19451 | 0.14878 | 0.20086 | 0.15559 | 0.20759 | 0.16279 | 0.21471 | 0.17039 | 0.22225 | 0.17841 | 0.23022 | 0.18687 | 0.23864 | 0.1958 | 0.24167 | 0.19133 | 0.2356 | 0.18551 | 0.22949 | 0.17965 | 0.22334 | 0.17374 | 0.29504 | 0.26068 | 0.28977 | 0.25559 | 0.28446 | 0.25045 | 0.27909 | 0.24525 | 0.27368 | 0.24001
PAT |  | 0 | 0 | 0.45531 | 0.30657 | 0.4662 | 0.31868 | 0.47784 | 0.33155 | 0.49027 | 0.34523 | 0.50352 | 0.35974 | 0.51764 | 0.37513 | 0.53265 | 0.39145 | 0.54861 | 0.40872 | 0.56555 | 0.427 | 0.58353 | 0.44634 | 0.60258 | 0.46677 | 0.62277 | 0.48837 | 0.64414 | 0.51117 | 0.66674 | 0.53523 | 0.69065 | 0.56062 | 0.71591 | 0.5874 | 0.72502 | 0.57399 | 0.7068 | 0.55652 | 0.68847 | 0.53894 | 0.67001 | 0.52123 | 0.88511 | 0.78205 | 0.86932 | 0.76677 | 0.85338 | 0.75134 | 0.83728 | 0.73576 | 0.82103 | 0.72002
CFADS (EBITDA-Tax) |  | 0 | 0 | 2.2767 | 2.1081 | 2.2508 | 2.0828 | 2.2245 | 2.0572 | 2.1978 | 2.0312 | 2.1707 | 2.0048 | 2.1433 | 1.978 | 2.1154 | 1.9508 | 2.0872 | 1.9231 | 2.0585 | 1.895 | 2.0293 | 1.8664 | 1.9996 | 1.8374 | 1.9695 | 1.8078 | 1.9388 | 1.7776 | 1.9075 | 1.7469 | 1.8757 | 1.7157 | 1.8433 | 1.6838 | 1.8161 | 1.6651 | 1.7979 | 1.6476 | 1.7796 | 1.6301 | 1.7611 | 1.6123 | 0.88511 | 0.78205 | 0.86932 | 0.76677 | 0.85338 | 0.75134 | 0.83728 | 0.73576 | 0.82103 | 0.72002

## Debt
DEBT — Sizing, sculpting, DSRA
| Period number |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52
| Semiannual rate | 2.375%
DEBT SIZING
A | DSCR based capacity
| DSCR target |  |  | 0 | 0 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
| Max debt service |  |  | 0 | 0 | 1.5668 | 1.426 | 1.5524 | 1.4123 | 1.5379 | 1.3985 | 1.5234 | 1.3847 | 1.5088 | 1.3708 | 1.4941 | 1.3568 | 1.4794 | 1.3428 | 1.4645 | 1.3286 | 1.4497 | 1.3144 | 1.4347 | 1.3001 | 1.4197 | 1.2858 | 1.4045 | 1.2713 | 1.3893 | 1.2568 | 1.3741 | 1.2422 | 1.3587 | 1.2274 | 1.3432 | 1.2126 | 1.3276 | 1.1977 | 1.3119 | 1.1827 | 1.2962 | 1.1675 | 1.2803 | 1.1523 | 0.73759 | 0.65171 | 0.72443 | 0.63897 | 0.71115 | 0.62612 | 0.69773 | 0.61313 | 0.68419 | 0.60001
| Discount factor |  |  | 1 | 1 | 0.9768 | 0.95414 | 0.93201 | 0.91038 | 0.88926 | 0.86863 | 0.84848 | 0.8288 | 0.80957 | 0.79079 | 0.77244 | 0.75452 | 0.73702 | 0.71992 | 0.70322 | 0.68691 | 0.67097 | 0.6554 | 0.6402 | 0.62535 | 0.61084 | 0.59667 | 0.58283 | 0.56931 | 0.5561 | 0.5432 | 0.5306 | 0.51829 | 0.50626 | 0.49452 | 0.48305 | 0.47184 | 0.46089 | 0.4502 | 0.43976 | 0.42956 | 0.41959 | 0.40986 | 0.40035 | 0.39106 | 0.38199 | 0.37313 | 0.36447 | 0.35601 | 0.34776 | 0.33969 | 0.33181 | 0.32411 | 0.31659 | 0.30925
| DSCR Capacity (€m) | 33.4515
B | Gearing-based capacity
| Gearing capacity (€m) | 30.75
| DEBT SIZE | 30.75
| Binding Constraint | Gearing-based
REPAYMENT SCHEDULE
| Opening Balance |  |  | 0 | 0 | 30.75 | 29.9135 | 29.198 | 28.339 | 27.5998 | 26.7174 | 25.9534 | 25.0464 | 24.2566 | 23.3239 | 22.5071 | 21.5476 | 20.7025 | 19.7148 | 18.8403 | 17.8232 | 16.9179 | 15.87 | 14.9325 | 13.8525 | 12.8813 | 11.7676 | 10.7613 | 9.6123 | 8.5693 | 7.3834 | 6.302 | 5.0776 | 3.9561 | 2.6914 | 1.5278 | 0.22093 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Interest |  |  | 0 | 0 | 0.73031 | 0.71045 | 0.69345 | 0.67305 | 0.6555 | 0.63454 | 0.61639 | 0.59485 | 0.57609 | 0.55394 | 0.53454 | 0.51175 | 0.49168 | 0.46823 | 0.44746 | 0.4233 | 0.4018 | 0.37691 | 0.35465 | 0.329 | 0.30593 | 0.27948 | 0.25558 | 0.22829 | 0.20352 | 0.17536 | 0.14967 | 0.12059 | 0.093956 | 0.06392 | 0.036286 | 0.005247 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Target debt service |  |  | 0 | 0 | 1.5668 | 1.426 | 1.5524 | 1.4123 | 1.5379 | 1.3985 | 1.5234 | 1.3847 | 1.5088 | 1.3708 | 1.4941 | 1.3568 | 1.4794 | 1.3428 | 1.4645 | 1.3286 | 1.4497 | 1.3144 | 1.4347 | 1.3001 | 1.4197 | 1.2858 | 1.4045 | 1.2713 | 1.3893 | 1.2568 | 1.3741 | 1.2422 | 1.3587 | 1.2274 | 1.3432 | 1.2126 | 1.3276 | 1.1977 | 1.3119 | 1.1827 | 1.2962 | 1.1675 | 1.2803 | 1.1523 | 0.73759 | 0.65171 | 0.72443 | 0.63897 | 0.71115 | 0.62612 | 0.69773 | 0.61313 | 0.68419 | 0.60001
| Principal repayment |  |  | 0 | 0 | 0.83647 | 0.71557 | 0.85892 | 0.73925 | 0.8824 | 0.76399 | 0.90696 | 0.78984 | 0.93266 | 0.81684 | 0.95955 | 0.84505 | 0.98767 | 0.87453 | 1.0171 | 0.90533 | 1.0479 | 0.93752 | 1.0801 | 0.97115 | 1.1137 | 1.0063 | 1.149 | 1.043 | 1.1858 | 1.0814 | 1.2244 | 1.1216 | 1.2647 | 1.1635 | 1.3069 | 0.22093 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Closing Balance |  |  | 0 | 30.75 | 29.9135 | 29.198 | 28.339 | 27.5998 | 26.7174 | 25.9534 | 25.0464 | 24.2566 | 23.3239 | 22.5071 | 21.5476 | 20.7025 | 19.7148 | 18.8403 | 17.8232 | 16.9179 | 15.87 | 14.9325 | 13.8525 | 12.8813 | 11.7676 | 10.7613 | 9.6123 | 8.5693 | 7.3834 | 6.302 | 5.0776 | 3.9561 | 2.6914 | 1.5278 | 0.22093 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Actual debt service |  |  | 0 | 0 | 1.5668 | 1.426 | 1.5524 | 1.4123 | 1.5379 | 1.3985 | 1.5234 | 1.3847 | 1.5088 | 1.3708 | 1.4941 | 1.3568 | 1.4794 | 1.3428 | 1.4645 | 1.3286 | 1.4497 | 1.3144 | 1.4347 | 1.3001 | 1.4197 | 1.2858 | 1.4045 | 1.2713 | 1.3893 | 1.2568 | 1.3741 | 1.2422 | 1.3587 | 1.2274 | 1.3432 | 0.22617 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| DSCR |  |  |  |  | 1.4531 | 1.4783 | 1.4499 | 1.4748 | 1.4464 | 1.471 | 1.4427 | 1.4669 | 1.4388 | 1.4625 | 1.4345 | 1.4578 | 1.43 | 1.4528 | 1.4251 | 1.4475 | 1.42 | 1.4417 | 1.4144 | 1.4356 | 1.4085 | 1.429 | 1.4022 | 1.422 | 1.3955 | 1.4144 | 1.3883 | 1.4064 | 1.3806 | 1.3978 | 1.3723 | 7.4445
| Min DSCR | 1.3723
| Avg DSCR | 1.6189
DSRA
| DSRA required |  |  | 0 | 1.5668 | 1.426 | 1.5524 | 1.4123 | 1.5379 | 1.3985 | 1.5234 | 1.3847 | 1.5088 | 1.3708 | 1.4941 | 1.3568 | 1.4794 | 1.3428 | 1.4645 | 1.3286 | 1.4497 | 1.3144 | 1.4347 | 1.3001 | 1.4197 | 1.2858 | 1.4045 | 1.2713 | 1.3893 | 1.2568 | 1.3741 | 1.2422 | 1.3587 | 1.2274 | 1.3432 | 0.22617 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| DSRA opening |  |  | 1.57 | 0 | 1.5668 | 1.426 | 1.5524 | 1.4123 | 1.5379 | 1.3985 | 1.5234 | 1.3847 | 1.5088 | 1.3708 | 1.4941 | 1.3568 | 1.4794 | 1.3428 | 1.4645 | 1.3286 | 1.4497 | 1.3144 | 1.4347 | 1.3001 | 1.4197 | 1.2858 | 1.4045 | 1.2713 | 1.3893 | 1.2568 | 1.3741 | 1.2422 | 1.3587 | 1.2274 | 1.3432 | 0.22617 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| DSRA movement |  |  | -1.57 | 1.5668 | -0.14077 | 0.12636 | -0.14007 | 0.12559 | -0.13937 | 0.12483 | -0.13867 | 0.12407 | -0.13798 | 0.12331 | -0.13729 | 0.12255 | -0.1366 | 0.12179 | -0.13592 | 0.12103 | -0.13524 | 0.12028 | -0.13456 | 0.11952 | -0.13389 | 0.11877 | -0.13322 | 0.11801 | -0.13255 | 0.11726 | -0.13189 | 0.11651 | -0.13123 | 0.11575 | -1.117 | -0.22617 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| DSRA closing |  | 1.57 | 0 | 1.5668 | 1.426 | 1.5524 | 1.4123 | 1.5379 | 1.3985 | 1.5234 | 1.3847 | 1.5088 | 1.3708 | 1.4941 | 1.3568 | 1.4794 | 1.3428 | 1.4645 | 1.3286 | 1.4497 | 1.3144 | 1.4347 | 1.3001 | 1.4197 | 1.2858 | 1.4045 | 1.2713 | 1.3893 | 1.2568 | 1.3741 | 1.2422 | 1.3587 | 1.2274 | 1.3432 | 0.22617 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Returns
RETURNS - Waterfall, IRR & LLCR
Period number |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52
CASH-FLOW WATERFALL
CFADS |  | 0 | 0 | 2.2767 | 2.1081 | 2.2508 | 2.0828 | 2.2245 | 2.0572 | 2.1978 | 2.0312 | 2.1707 | 2.0048 | 2.1433 | 1.978 | 2.1154 | 1.9508 | 2.0872 | 1.9231 | 2.0585 | 1.895 | 2.0293 | 1.8664 | 1.9996 | 1.8374 | 1.9695 | 1.8078 | 1.9388 | 1.7776 | 1.9075 | 1.7469 | 1.8757 | 1.7157 | 1.8433 | 1.6838 | 1.8161 | 1.6651 | 1.7979 | 1.6476 | 1.7796 | 1.6301 | 1.7611 | 1.6123 | 0.88511 | 0.78205 | 0.86932 | 0.76677 | 0.85338 | 0.75134 | 0.83728 | 0.73576 | 0.82103 | 0.72002
Less: Senior interest |  | 0 | 0 | -0.73031 | -0.71045 | -0.69345 | -0.67305 | -0.6555 | -0.63454 | -0.61639 | -0.59485 | -0.57609 | -0.55394 | -0.53454 | -0.51175 | -0.49168 | -0.46823 | -0.44746 | -0.4233 | -0.4018 | -0.37691 | -0.35465 | -0.329 | -0.30593 | -0.27948 | -0.25558 | -0.22829 | -0.20352 | -0.17536 | -0.14967 | -0.12059 | -0.093956 | -0.06392 | -0.036286 | -0.005247 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less: Senior principal |  | 0 | 0 | -0.83647 | -0.71557 | -0.85892 | -0.73925 | -0.8824 | -0.76399 | -0.90696 | -0.78984 | -0.93266 | -0.81684 | -0.95955 | -0.84505 | -0.98767 | -0.87453 | -1.0171 | -0.90533 | -1.0479 | -0.93752 | -1.0801 | -0.97115 | -1.1137 | -1.0063 | -1.149 | -1.043 | -1.1858 | -1.0814 | -1.2244 | -1.1216 | -1.2647 | -1.1635 | -1.3069 | -0.22093 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash flow after debt service |  | 0 | 0 | 0.70996 | 0.68212 | 0.6984 | 0.67054 | 0.68656 | 0.65867 | 0.67442 | 0.6465 | 0.66198 | 0.63402 | 0.6492 | 0.6212 | 0.63609 | 0.60803 | 0.62263 | 0.59451 | 0.6088 | 0.5806 | 0.59458 | 0.5663 | 0.57996 | 0.55159 | 0.56491 | 0.53644 | 0.54943 | 0.52085 | 0.53348 | 0.50478 | 0.51705 | 0.48822 | 0.50012 | 1.4576 | 1.8161 | 1.6651 | 1.7979 | 1.6476 | 1.7796 | 1.6301 | 1.7611 | 1.6123 | 0.88511 | 0.78205 | 0.86932 | 0.76677 | 0.85338 | 0.75134 | 0.83728 | 0.73576 | 0.82103 | 0.72002
Less: DSRA movement |  | 1.57 | -1.5668 | 0.14077 | -0.12636 | 0.14007 | -0.12559 | 0.13937 | -0.12483 | 0.13867 | -0.12407 | 0.13798 | -0.12331 | 0.13729 | -0.12255 | 0.1366 | -0.12179 | 0.13592 | -0.12103 | 0.13524 | -0.12028 | 0.13456 | -0.11952 | 0.13389 | -0.11877 | 0.13322 | -0.11801 | 0.13255 | -0.11726 | 0.13189 | -0.11651 | 0.13123 | -0.11575 | 1.117 | 0.22617 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash available for distribution |  | 1.57 | -1.5668 | 0.85073 | 0.55576 | 0.83847 | 0.54495 | 0.82593 | 0.53384 | 0.81309 | 0.52244 | 0.79995 | 0.51071 | 0.78649 | 0.49865 | 0.77269 | 0.48624 | 0.75855 | 0.47347 | 0.74404 | 0.46032 | 0.72914 | 0.44678 | 0.71384 | 0.43282 | 0.69813 | 0.41843 | 0.68198 | 0.40359 | 0.66537 | 0.38827 | 0.64828 | 0.37246 | 1.6171 | 1.6838 | 1.8161 | 1.6651 | 1.7979 | 1.6476 | 1.7796 | 1.6301 | 1.7611 | 1.6123 | 0.88511 | 0.78205 | 0.86932 | 0.76677 | 0.85338 | 0.75134 | 0.83728 | 0.73576 | 0.82103 | 0.72002
Cumulative cash available for distribution |  | 1.57 | 0.0032178 | 0.85395 | 1.4097 | 2.2482 | 2.7931 | 3.619 | 4.1529 | 4.966 | 5.4884 | 6.2884 | 6.7991 | 7.5856 | 8.0842 | 8.8569 | 9.3432 | 10.1017 | 10.5752 | 11.3192 | 11.7795 | 12.5087 | 12.9555 | 13.6693 | 14.1021 | 14.8002 | 15.2187 | 15.9007 | 16.3042 | 16.9696 | 17.3579 | 18.0062 | 18.3786 | 19.9958 | 21.6795 | 23.4957 | 25.1608 | 26.9587 | 28.6063 | 30.3859 | 32.0159 | 33.7771 | 35.3894 | 36.2745 | 37.0566 | 37.9259 | 38.6926 | 39.546 | 40.2974 | 41.1346 | 41.8704 | 42.6914 | 43.4115
Lock-up mechanism
Lock up DSCR | 1.1
Lock up test | bar: 1 to 52
Cash distribution |  | 1.57 | -1.5668 | 0.85073 | 0.55576 | 0.83847 | 0.54495 | 0.82593 | 0.53384 | 0.81309 | 0.52244 | 0.79995 | 0.51071 | 0.78649 | 0.49865 | 0.77269 | 0.48624 | 0.75855 | 0.47347 | 0.74404 | 0.46032 | 0.72914 | 0.44678 | 0.71384 | 0.43282 | 0.69813 | 0.41843 | 0.68198 | 0.40359 | 0.66537 | 0.38827 | 0.64828 | 0.37246 | 1.6171 | 1.6838 | 1.8161 | 1.6651 | 1.7979 | 1.6476 | 1.7796 | 1.6301 | 1.7611 | 1.6123 | 0.88511 | 0.78205 | 0.86932 | 0.76677 | 0.85338 | 0.75134 | 0.83728 | 0.73576 | 0.82103 | 0.72002
Cash trapped |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cumulative cash trapped |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LLCR
NPV of CFADS over the debt term, discounted at borrowing rate, plus DSRA balance, divided by outstanding debt. | 1.6088
PROJECT CASH FLOW & RETURNS
Tax charge (Project 100% equity funded) |  | 0 | 0 | 0.33435 | 0.2798 | 0.32876 | 0.27449 | 0.32316 | 0.26915 | 0.31752 | 0.26379 | 0.31186 | 0.2584 | 0.30618 | 0.25298 | 0.30047 | 0.24754 | 0.29473 | 0.24207 | 0.28897 | 0.23656 | 0.28317 | 0.23103 | 0.27734 | 0.22546 | 0.27148 | 0.21986 | 0.26559 | 0.21423 | 0.25967 | 0.20856 | 0.25371 | 0.20285 | 0.24771 | 0.19711 | 0.24167 | 0.19133 | 0.2356 | 0.18551 | 0.22949 | 0.17965 | 0.22334 | 0.17374 | 0.29504 | 0.26068 | 0.28977 | 0.25559 | 0.28446 | 0.25045 | 0.27909 | 0.24525 | 0.27368 | 0.24001
Project cash flow (Unlevered) |  | -20.5 | -20.5 | 2.0942 | 1.9305 | 2.0774 | 1.9146 | 2.0606 | 1.8986 | 2.0437 | 1.8825 | 2.0267 | 1.8663 | 2.0097 | 1.8501 | 1.9925 | 1.8337 | 1.9753 | 1.8173 | 1.958 | 1.8008 | 1.9406 | 1.7842 | 1.9231 | 1.7675 | 1.9056 | 1.7507 | 1.8879 | 1.7338 | 1.8701 | 1.7168 | 1.8522 | 1.6997 | 1.8342 | 1.6824 | 1.8161 | 1.6651 | 1.7979 | 1.6476 | 1.7796 | 1.6301 | 1.7611 | 1.6123 | 0.88511 | 0.78205 | 0.86932 | 0.76677 | 0.85338 | 0.75134 | 0.83728 | 0.73576 | 0.82103 | 0.72002
Project IRR | 3.553%
Project IRR annualised | 7.232%
EQUITY IRR
Equity cash flow |  | -6.1996 | -6.6918 | 0.85073 | 0.55576 | 0.83847 | 0.54495 | 0.82593 | 0.53384 | 0.81309 | 0.52244 | 0.79995 | 0.51071 | 0.78649 | 0.49865 | 0.77269 | 0.48624 | 0.75855 | 0.47347 | 0.74404 | 0.46032 | 0.72914 | 0.44678 | 0.71384 | 0.43282 | 0.69813 | 0.41843 | 0.68198 | 0.40359 | 0.66537 | 0.38827 | 0.64828 | 0.37246 | 1.6171 | 1.6838 | 1.8161 | 1.6651 | 1.7979 | 1.6476 | 1.7796 | 1.6301 | 1.7611 | 1.6123 | 0.88511 | 0.78205 | 0.86932 | 0.76677 | 0.85338 | 0.75134 | 0.83728 | 0.73576 | 0.82103 | 0.72002
Equity IRR | 5.231%
Equity IRR annualised | 10.74%
Equity MOIC | 3.3666
Equity Payback - Cumulative cashflow | Year 11 | -6.1996 | -12.8913 | -12.0406 | -11.4848 | -10.6464 | -10.1014 | -9.2755 | -8.7417 | -7.9286 | -7.4061 | -6.6062 | -6.0955 | -5.309 | -4.8103 | -4.0376 | -3.5514 | -2.7929 | -2.3194 | -1.5753 | -1.115 | -0.38588 | 0.060895 | 0.77474 | 1.2076 | 1.9057 | 2.3241 | 3.0061 | 3.4097 | 4.0751 | 4.4633 | 5.1116 | 5.4841 | 7.1012 | 8.785 | 10.6011 | 12.2662 | 14.0641 | 15.7118 | 17.4913 | 19.1214 | 20.8825 | 22.4948 | 23.38 | 24.162 | 25.0313 | 25.7981 | 26.6515 | 27.4028 | 28.2401 | 28.9758 | 29.7969 | 30.5169

## Sensitivities
SENSITIVITIES
TABLE 1 · EQUITY IRR — PRODUCTION (P-CASE) × CONTRACT PRICE €/MWH
Prod ↓ / Price → | 70 | 74 | 79 | 82 | 85
P90 | 8.366% | 8.708% | 9.126% | 9.378% | 10.04%
P75 | 8.784% | 9.133% | 9.759% | 10.43% | 11.07%
P50 | 9.185% | 9.578% | 10.74% | 11.4% | 12.04%
P50+ | 9.419% | 10.14% | 11.29% | 11.95% | 12.6%
TABLE 2 · EQUITY IRR — CAPEX (×) × PRODUCTION (P-CASE) [IDC CAVEAT]
Capex ↓ / Prod → | P90 | P75 | P50 | P50+
-10% | 10.24% | 11.28% | 12.26% | 12.82%
Base | 9.126% | 9.759% | 10.74% | 11.29%
+10% | 8.635% | 9.052% | 9.453% | 9.915%
+20% | 8.192% | 8.602% | 8.989% | 9.214%
TORNADO · EQUITY IRR SENSITIVITY (ONE-AT-A-TIME SWING FROM BASE)
Driver | Low | High | Swing
Debt rate ±100bp | 10.38% | 11.04% | 0.6554%
CfD price ±10% | 9.284% | 12.44% | 3.154%
Production ±10% | 9.126% | 12.52% | 3.392%
Capex ±15% | 9.214% | 13.1% | 3.884%
Prepared by:
Saud Shaikh
saudshaikh044@gmail.com

## Checks
CHECKS
Check description | Test
Master check | ALL CHECKS PASS
Sources equals uses | TRUE
Debt drawdown equals debt sized | TRUE
Equity drawdown equals equity requirement | TRUE
Debt fully repaid at maturity | TRUE
Debt stays positive | TRUE
DSRA releases to zero at maturity | TRUE
Min. DSCR clears lock up covenant | TRUE
Construction flag sums to 2 | TRUE
Operations flag sums to 50 | TRUE
Contracted+merchant=Operations | TRUE
Debt repayment flag sums to tenor | TRUE
Depreciation flas sums to dep. Period | TRUE
Total depreciation equals depreciable base | TRUE
Production reconciles to capacity X yield | TRUE
IDC check | TRUE